# Contents

Contents	2

Tables	3

Figures	5

About This Site Survey Form	7

History	7

Review	7

Site Details	9

Electrical Considerations	15

Cabling	19

Network Synchronization	22

Carrier Circuits	24

Peripheral Data Communications Equipment	26

Peripheral Voice Communications Equipment	28

Site Survey Completion	32

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# Tables

Table 1	Revision History	7

Table 2	Revision Review	7

Table 3	Site Details	9

Table 4	Site Details (cont.)	12

Table 5	Electrical Considerations	15

Table 6	Cabling	19

Table 7	Network Synchronization	22

Table 8	Carrier Circuits	24

Table 9	Peripheral Data Communications Equipment	26

Table 10	Peripheral Voice Communications Equipment	28

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# Figures

Figure 1	Site Layout	11

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# About This Site Survey Form

Author: 		<Author Name>

<Organization>

Change Authority: 	<Change Authority>

Reference Number:	< Document Reference Number>

## History

Table 1	Revision History

| Version | Issue Date | Status | Reason for Change |
| --- | --- | --- | --- |
| <1.0> | <dd-mmm-yyyy> | <Draft, Released> | <First release, update, and so on> |

## Review

Table 2	Revision Review

| Reviewer's Details | Version | Date |
| --- | --- | --- |
| <Name> <Organization> | <Version number> | <dd-mmm-yyyy> |

Change Forecast: <High/Medium/Low>

This document will be kept under revision control.

A printed copy of this document is considered uncontrolled.

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# Site Details

<Complete or provide in this document additional questions or table lines that might be applicable to this customer network. Include international country codes for telephone numbers. Mark sections that are not applicable. If space is insufficient for any answer, continue on separate pages, but indicate that you have done this in an appropriate place within this document.>

Table 3	Site Details

| What is the site location/name? |  |
| --- | --- |
| What is the site CLLI/code? |  |
| What is the site address? |  |
| What is the shipping address? (if different from the above) |  |
| Who is the site contact? | Name: Title: Telephone: Mobile: Fax: Pager: Email: Out of hours contact number: |
| Is this site owned and maintained by the customer? | Yes/No Who: |
| Is this a manned site? | Yes/No |
| What are the hours of operation? |  |
| What is the number of the telephone nearest to the Cisco equipment and its location? | Telephone: Location: |
| What are the building and room access procedures? (For example, must visiting personnel be escorted by customer personnel?) |  |
| Are there any special security/safety procedures? (such as safety glasses, safety shoes, and hard hat areas) | Yes/No What: |
| What is the name and number of the site coordinator who is responsible for ensuring that the site is prepared adequately for the installation of the Cisco equipment? | Name: Telephone: |
| What will the cabinet location be? | Floor: Room: Position: |

Provide a diagram/s or sketch/es of the equipment location/s to include the following:

All Cisco equipment locations

Power receptacle locations (wall, post, or under raised floor)

Circuit breaker locations and circuit breaker number

Telco demarc locations

DDF locations

Cable tray locations

Location of other devices

Where applicable, also include diagrams that the route equipment must follow to reach this location when it is delivered to the customer site.

<Diagrams inserted in the Windows Metafile format, .wmf, offer significant file size savings over the Visio equivalent and should be used where the original Visio files are being maintained as separate files. You can use other reduced file size formats where appropriate.>

[example]

Figure 1	Site Layout

Table 4	Site Details (cont.)

| What is the agreed plan to rectify any outstanding points from this section and any notes or special comments for the implementation team? |  |
| --- | --- |

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# Electrical Considerations

<Complete or provide in this document additional questions or table lines that might be applicable to this customer network. Include international country codes for telephone numbers. Mark sections that are not applicable. If space is insufficient for any answer, continue on separate pages, but indicate that you have done this in an appropriate place within this document.>

Table 5	Electrical Considerations

| Is the correct AC power source available? (fused within 2m of the Cisco equipment position) | Yes/No Voltage range: Location: |
| --- | --- |
| Is the correct DC power source available? (fused within 2m of the Cisco equipment position) | Yes/No Voltage range: Location: |
| Will the Cisco equipment be powered from a UPS (AC) or battery backup (DC)? | Yes/No UPS/Battery |
| Does the backup power source have sufficient capacity for this new equipment? | Yes/No Capacity: |
| Does this site have additional backup from generator power? | Yes/No Details: |
| Are there any restrictions as to when the Cisco equipment might be powered up? | Yes/No Details: |
| Are there any 240v AC outlets available within 2m of the Cisco equipment for peripheral equipment? (such as PCs, test equipment) | Yes/No How many: Distance: Location: |
| Is there an isolated earth point available close to the Cisco equipment position? | Yes/No Distance: Location: |
| What is the agreed plan to rectify any outstanding points from this section and any notes or special comments for the implementation team? |  |

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# Cabling

<Complete or provide in this document additional questions or table lines that might be applicable to this customer network. Include international country codes for telephone numbers. Mark sections that are not applicable as such. If space is insufficient for any answer, continue on separate pages, but indicate that you have done this in an appropriate place within this document.>

Table 6	Cabling

| Has the cable schedule from the SRS document been discussed, and does the customer understand/agree with the requirements? | Yes/No |
| --- | --- |
| Are cables that are external to the cabinets to be installed? (such as rack to rack, DDF to patch panel) | Yes/No Cable run length (m): Cable run route: |
| Are external cabling lengths within the distances required by the equipment to avoid signal degradation? | Yes/No Max cable length: |
| Where Cisco will be installing cables that are external to the cabinets, are there restrictions on when cables might be pulled over cable trays or under the floor? | Yes/No Details: |
| Do local fire codes stipulate that special cables are mandatory? | Yes/No Cable spec: |
| Are additional overhead cable trays, drop posts, or other trunking required to install the Cisco equipment? | Yes/No Responsible party: Completion date: Details: |
| Is there sufficient clearance under overhead cable trays? | Yes/No Clearance (mm): |
| If a raised floor exists, is sufficient space available for routing cables? | Yes/No Depth of space (mm): |
| What is the agreed plan to rectify any outstanding points from this section and any notes or special comments for the implementation team? |  |

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# Network Synchronization

<Complete or provide in this document additional questions or table lines that might be applicable to this customer network. Include international country codes for telephone numbers. Mark sections that are not applicable. If space is insufficient for any answer, continue on separate pages, but indicate that you have done this in an appropriate place within this document.>

Table 7	Network Synchronization

| Is an external clock source present at this site? | Yes/No |
| --- | --- |
| If yes, what level of STRATUM accuracy does it conform to? | STRATUM level: Location: Details: |
| Are there other Building Integrated Timing Sources configured at this site? | Yes/No Location: Details: |
| If the clock source has yet to be implemented, what is the due date for its completion? | Date: STRATUM level: Location: Details: |
| Have primary and secondary timing connection assignments for the Cisco equipment been reserved? | Yes/No Details: |
| What is the agreed plan to rectify any outstanding points from this section and any notes or special comments for the implementation team? |  |

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# Carrier Circuits

<Complete or provide in this document additional questions or table lines that might be applicable to this customer network. Include international country codes for telephone numbers. Mark sections that are not applicable. If space is insufficient for any answer, continue on separate pages, but indicate that you have done this in an appropriate place within this document.>

Table 8	Carrier Circuits

| What is the physical presentation of the telco circuits? (e.g. E3 with 75ohm BNC, T3 with Type 43, STM-1 with single-mode fibre and SC connector) | Destination | Circuit | Type/Presentation |
| --- | --- | --- | --- |
| If telco circuits are to be presented via a DDF, what are the termination block identifiers for both the telco circuits and the cables that connect to the Cisco equipment? (such as frame ID, horizontal/vertical locator, termination ID) | Destination | Carrier Circuit DDF Termination Block ID | Cisco Equipment DDF Termination Block ID |
| What is the agreed plan to rectify any outstanding points from this section, and any notes or special comments for the implementation team? |  |

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# Peripheral Data Communications Equipment

<Complete or provide in this document additional questions or table lines that might be applicable to this customer network. Include international country codes for telephone numbers. Mark sections that are not applicable. If space is insufficient for any answer, continue on separate pages, but indicate that you have done this in an appropriate place within this document.>

Table 9	Peripheral Data Communications Equipment

| Will a data communications CPE be connected to the Cisco equipment at this site? (such as EDIROU1/Cisco 2501/X21 interface with existing DB15 male cable running Frame Relay at 1984 kbps) | Customer Device ID | Manufacturer/ Model | Interface/Cabling |
| --- | --- | --- | --- |
| What is the agreed plan to rectify any outstanding points from this section, and any notes or special comments for the implementation team? |  |

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# Peripheral Voice Communications Equipment

<Complete or provide in this document additional questions or table lines that might be applicable to this customer network. Include international country codes for telephone numbers. Mark sections that are not applicable. If space is insufficient for any answer, continue on separate pages, but indicate that you have done this in an appropriate place within this document.>

Table 10	Peripheral Voice Communications Equipment

| Will any voice communications CPE be connected to the Cisco equipment at this site? (such as EDIPBX1/Ericsson MD110/E1 G.704 DPNSS to remote site PBX) | Customer Device ID | Manufacturer/ Model | Interface/Cabling |
| --- | --- | --- | --- |
| If PBX circuits are to be presented via a DDF, what are the termination block identifiers for both the PBX circuits and the cables that connect to the Cisco equipment? (such as frame ID, horizontal/vertical locator, termination ID) | Circuit ID | PBX Circuit DDF Termination Block ID | Cisco Equipment DDF Termination Block ID |
| Detail the PBX primary and secondary clock sources as currently configured. |  |
| What is the agreed plan to rectify outstanding points from this section, as well as any notes or special comments for the implementation team? |  |

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

Site Survey Completion

Certificate type: <Description of Sign-off>

System description: <Customer Name and Project/Deliverable Name>

Document version: Version <x.y>

This Site Survey Form has accurately captured the status of relevant physical, electrical, and environmental requirements for all the equipment to be installed at <Customer> premises at <Site>.

The site survey at <Site> has been completed and agreed actions recorded for all sections.

Please note any comments below.

For and on behalf of Cisco Systems:

Name:				Signature:			Date:

(Print)				(Sign)

For and on behalf of <Customer>:

Name:				Signature:			Date:

(Print)				(Sign)

Comments, variations or caveats:

This ACCEPTANCE CERTIFICATE is to be completed/signed and returned to the Cisco Systems project manager.

<Check this document against the following quality criteria:

Has this SSF been checked to ensure consistency and accuracy in:

Spelling and grammar

Chapter references

Question numbering

General formatting and location of page breaks

Page numbering and date formats

Does this SSF detail how unresolved items will be corrected and how they will be fed back to the customer and project teams?

Does this SSF clearly spell out the responsibilities of different parties–Cisco/partner and customer?

Has this SSF been discussed and agreed with the customer/user and a sign-off obtained?

Is the process for dealing with test failures clearly understood?

Is it clear that if the site is not ready, or if subsequent problems are found, such issues could delay the implementation?

Have all instances of "<Customer>" been replaced by the customer name?

Is there any remaining text in <> or [] brackets?

If a partner has produced this document, has the original Cisco formatting and styling been retained?

Cross-references should be included where applicable to ease PC-based reading. (Insert -> Cross-reference -> Reference type -> Heading -> Insert reference to -> Heading text).

Where possible, documents should be sent to the customer in PDF format. This saves on the document file size as well as securing the information contained within it. You can download the software to convert Word, Excel, and other documents to PDF format from SoftTracker (at http://wwwin-download.cisco.com) under the heading Adobe Acrobat 4.0.6 (not Acrobat Reader) for a small charge. Even with the charge, however, this software should be considered as necessary for your work as Visio or other purchased software. The project manager and customer should agree to any changes, as necessary.

Please remove these quality criteria before customer distribution.>

<SECTION BREAK
To avoid header/footer and page setup problems, do not remove the carriage return following this line.>

# Text boxes

<Customer Name (please do not include a logo) and Project/Deliverable Name>

Site Survey Form

Version <x.y>